THE LOUIS STOKES CLEVELAND DEPARTMENT OF VETERANS AFFAIRS MEDICAL CENTER

10701 EAST BLVD

CLEVELAND, OHIO 44106

MEDICAL RESEARCH SERVICE

SAFETY TRAINING MANUAL

Containing all aspects of the

## CHEMICAL HYGIENE PLAN

HAZARD COMMUNICATION PROGRAM

&

HAZARDOUS AGENTS CONTROL PROGRAM

2019

TABLE OF CONTENTS

Page #s.	Subject

25 – 26		Accident Procedure

4		Chemical Hygiene Officer

17		Chemical Hygiene Responsibility

7		Chemical Inventory

7 – 8		Chemical Labeling

11 – 12	Chemical Storage

13		Compressed Gas Handling

20		Contractors

27		Electrical Safety

22		Emergency Eyewash Stations/Emergency Showers

20 – 22		Emergency Procedures

20			a) Disaster and Disaster Drill Procedure

20-22			b) Fire and Fire Drill Procedure

21	c) Fire-alarm pulls boxes

21			d) Fire Extinguishers

22			e) Emergency Overhead Paging Codes

22 – 25  	Engineering Controls

22			a) Bottle Carriers

23			b) Cold rooms

23	c) Electrical Outages

23 – 24			d) Fume hoods

24			e) Housekeeping

24			f) Laundry Service

24			g) Lipped shelves

25			h) Work orders

13 – 15	Hazardous Chemical Handling

13 – 14 		a) General Precautions

14			b) Allergens and Embryotoxins

14			c) Moderate, Chronic, or Acute Toxicity Chemicals

14 – 15 		d) High Chronic Toxicity Chemicals

15			e) Cancer Causing Agents

15 			f) Formaldehyde

17	Hazardous Waste & Chemical Disposal

10 – 11	Hazardous Material Spill Procedure

26		Immunizations

4-5		Laboratory Security (Hazardous Materials)

25		Lock-out/Tag-out

8 – 9		SAFETY DATA SHEET - SDS

26		Medical Requests

19		Monitoring of Vapor Forming Chemicals

16		Occupational Health and Safety Regulations

18 – 19	Personal Protective Equipment

18			a) Protective clothing

18			b) Gloves

19			c) Eye protections

19			e) Hearing (Noise) Protection

19			d) Respiratory protections

27		Physical Hazards

6		Radiation Safety Training

4		Research Safety Coordinator

4 – 5		Security, Laboratory (Hazardous Materials)

4		Security Awareness

16		Subcommittee on Research Safety, Medical Research Service

6		Safety Notebook (MAXCOM)

24		Sharp Material Disposal/Storage

24			a) Non-Infectious Sharp Material Disposal

24			b) Infectious Sharp Material Disposal

27		Smoking Policy

5 – 6		Training

Medical Research Service Safety Policies:

SRS-001 – Safety Program

SRS-002 – Biosafety Policy

SRS-003 – Storage Procedures for Common Storage Areas

SRS-004 – Laboratory Moving

SRS-005 – Laboratory Decommissioning

SRS-006 – Utility Failure Procedures

SRS-007 – Eating and Drinking

SRS-008 – Office Safety

SRS-009 –  Infection Control Procedures for the Animal Research Facility

SRS-010 – Employee Training by Supervisor

SRS-011 – New Employee Training

SRS-012 – Fire and Fire Drill Procedure

SRS-013 – Hazard Assessment and Personal Protective Equipment (PPE) Training

SRS-014 – Emergency Protocol for the Animal Research Facility

SRS-015 – Research Protocol Safety Survey (VA Form 10-0398)

SRS-016 – Controlled Substance Program: Medical Research

SRS-018 – Inventory Control of VA Equipment

SRS-019 – Emergency Preparedness

SRS-020 – Access to Medical Research Space

SRS-021 – Ordering of Select Agents or Hazardous Chemicals

SRS-022 – Use of the Raman Microscope

SRS-023 – Use of the Confocal Microscope

SRS-024 - Infection Control Procedures for Infectious Diseases Research

SRS-025 – Institutional Review Entity

INTRODUCTION:

The Medical Research Service Safety Training Manual complies with the Occupational Safety and Health Administration (OSHA) standards entitled "Occupational Exposures to Hazardous Chemicals in Laboratories" (29 CFR 1910.1450) and "Hazardous Communication" (29 CFR 1910.1200). Other OSHA standards are cited under Occupational Health and Safety Regulations (page 7). Employees must use this manual as a reference for policies and practices at this work site. It contains research safety policies/procedures to follow when handling hazardous materials and information derived from the Right-to-Know law (page 9). The Research Safety Coordinator/Chemical Hygiene Officer (RSC/CHO) works with the Medical Research Service Subcommittee on Research Safety to institute new policies, revise existing policies, and train employees in safe work practices.

RESEARCH SAFETY COORDINATOR/CHEMICAL HYGIENE OFFICER

John Schaffer is the RSC/CHO for Medical Research Service.  He can be reached at (216) 791-3800 extension 4263, in the Research Office (K-117) or by e-mail at john.schaffer@va.gov

The RSC/CHO is responsible for:

- Developing, administering and updating the Medical Research Service Safety program standard operating procedures (SOPs) for Medical Research Service.

- Ensuring the security of Medical Research Service laboratories.

- Conducting, documenting, and updating in-service training for laboratory personnel annually.

- Processing new chemical requests for Medical Research.

- Preparing agendas/minutes for the Subcommittee on Research Safety.

- Ensuring weekly inspections of the emergency eyewash/shower stations are conducted.

- Maintaining documentation of semi-annual laboratory inspections.

- Coordinating semi-annual chemical inventories for Medical Research Service with the Facility Safety Office.

# HAZARDOUS MATERIALS: LABORATORY SECURITY

# All laboratories must have doors.  Laboratories that house hazardous materials (radioactive, biological, chemical, and select agents) must be secured at all times, i.e. laboratory doors shall be self-closing or have automatic-closing devices, as mandated by the National Fire Protection Association, NFPA 101, 19.3.2.1.3.  All laboratory doors have non-defeating locks. This standard of security is mandated by Medical Research Service, VHA Handbook 1200.06: Control of Hazardous Agents in VA Research Laboratories, the Nuclear Regulatory Commission, the Department of Veterans Affairs National Health Physics Program, and Congress.

Security Awareness:  Employees will utilize the Emergency Paging Code System (page 22) when a suspicious person, package (LSCDVAMC Biological and Chemical Terrorism Response), or violent behavior is noticed.  Strangers/personnel without Identification Badges are to be challenged.

Laboratory Security – Corridors accessing laboratories in Medical Research Service are secured at all times.  The following security mechanisms are in place:

- Key Access:  New employees receive keys to the laboratory that they will be working in.  The same key will also open all corridor entries into laboratory space.  Keys are not issued to an employee until all safety training and personnel paperwork have been initially completed and updated annually thereafter. Until the aforementioned and the necessary paperwork are completed, access to laboratory space will be denied.  Employees must sign a key logbook when issued a key.

- Proximity Readers/Cards:  Proximity Cards are issued with the same requirements as noted in Key Access.  Proximity Readers are located at points of entry to laboratory space and the elevator in Medical Research. Access can be removed from a Proximity Card in the event that training and/or Without Compensation (WOC) appointment paperwork is not up to date.

Employees obtain Proximity Cards in the PIV (Personal Identification Verification) Office, which is part of Police Service.  Contact the PIV Office at extension 4609 or 4610 if you have any questions.

Proximity Readers are linked to software that record the date and time an employee enters a secured area. The software records denied entries and exits made without utilizing the Proximity Reader.   For employee safety, at each point of egress, a green “exit’ button will disengage the magnetic locking device that secures the door; this prevents an employee from being trapped in the facility in the event of an emergency.  An alarm is activated when an employee exits without using the Proximity Reader.

- Cameras:  Cameras are positioned throughout Medical Research to monitor/record 24/7 activity at eleven points of access into laboratory space.  Camera activity is displayed on remote surveillance screens located in Police Service.

- Select Agents and Radioactive Materials:  Select agents and radioactive materials must be stored in a locked cupboard, refrigerator, or freezer.  Exempt quantities of toxins and hazardous agents/chemicals must be controlled when not in use or not in direct view of an unapproved individual.  Laboratories that house select agents are keyed-off the grand master key system, which indicates that only one key opens such laboratories. Keys to these laboratories are issued to specific laboratory personnel and Police Service only.

- Visitor Log Book:  Visitors to Medical Research Service must sign a Visitor Log Book located in the Research Office, room K-115.  An employee must accompany all visitors from the laboratory that they are visiting.   Visitors are not permitted to enter a secured area without an escort.  Employees are directed to instruct all visitors to report to the Research Office and sign the Visitor Log Book.

# TRAINING

All annual training records are documented and maintained.

- Formaldehyde Training – OSHA regulation 29 CFR 1910.1048 requires annual training in the hazards of formaldehyde for persons working with formaldehyde gas, all mixtures or solutions composed of greater than 0.1% formaldehyde, and/or materials capable of releasing formaldehyde into the air.  The Facility Safety Office assigns formaldehyde training in the Talent Management System (TMS), which covers the facility’s formaldehyde safety policy.

Medical Research Services also requires annual Formaldehyde Safety Training for those working with a formaldehyde-based solution, i.e. 1%, 10%, 37%, or 100% formaldehyde, formamide, formalin, etc.

- Environment of Care Safety Training – General medical center safety rules are presented in the VA Talent Management System (TMS), which comprises the Joint Commission on Accreditation of Healthcare Organization (JCAHO) Safety Training. Subjects include Police and Security, Fire Safety, General Safety, Hazard Communication, Disaster Procedures, Infection Control, Bio-chemical Warfare, and ADP Security (computer security). All new VA and non-VA employees who work at the VA Medical Center (on-site or leased facility) must complete this training when hired and annually thereafter.

- Laboratory-Specific Safety – The laboratory supervisor/investigator must present laboratory-specific safety training to an employee upon the latter’s initial assignment to the laboratory and annually thereafter.  Additional training is required every time a new chemical, piece of equipment, protocol or protocol modification is introduced into the employee's duties.  Laboratory-specific training covers the chemicals, equipment, and procedures that the employee will utilize. Emphasis must be placed on relevant hazards, ways to detect a chemical release, storage and handling protocols, personal protective equipment, and emergency procedures.  More specific information concerning the content of this training can be found in the Medical Research Service Supervisor Training Handbook.

Additionally, a Hazard Assessment and Certification form is completed by each lab on an annual basis.  This assessment covers chemical, biological, and physical (equipment) hazards.

- Medical Research In-Service – Service-specific rules on safety are presented by the RSC/CHO at the Medical Research In-Service. Training covers the Chemical Hygiene Plan, the Right-to-Know Law, the Hazard Communication Program, and safety policies and procedures that affect research employees.   No employee may handle or work in the vicinity of any hazardous material until he/she completes all safety training.  This in-service training is required at start of hire and annually thereafter.

- Radiation Safety Training – Any employee who works with or around radioactive material or x-ray equipment must attend an orientation from the Radiation Safety Officer (RSO) and complete annual radiation safety training, which is provided by the RSO/Chief of Staff, (216) 791-3800 extension 3096.  Instructions to workers regarding radiation safety are posted in all laboratories that house radioactive material(s).

# MAXCOM

MAXCOM is a web-based workplace chemical safety program that fully complies with the Occupational Safety and Health Administration (OSHA) Hazard Communication Standard [29CFR 1910-1200].  OSHA requires that employers identify hazardous chemicals in the workplace and effectively communicat3e these hazards to employees.

# MAXCOM SAFETY NOTEBOOK

Every laboratory must have a MAXCOM SAFETY notebook.  This notebook contains:

- Medical Center Policy 138-049 Hazard Communication Plan.

- A Chemical Inventory specific for the laboratory (by room number).

- Safe Use Guides.

- The most recent Medical Research Service Safety Training Manual.

- Laboratory-specific Standard Operations Procedures (SOPs).

The RSC/CHO will provide updated information to each laboratory to add to or replace existing documents in the MAXCOM Safety Notebook.

# MAXCOM CHEMICAL INVENTORY

Laboratory chemical inventories includes all OSHA and EPA deemed hazardous chemicals. Lab-specific chemical inventories are located in each laboratory’s MAXCOM Safety Notebook and in MAXCOM.

Chemical inventories are updated in real-time, i.e. purchases of new chemicals are uploaded into MAXCOM upon approval from the Facility Safety Office and when chemicals are removed from a laboratory’s inventory (upon completion of a chemical or when disposed of through a Hazardous Chemical Pick-up as noted on page 9).  This information is provided to the RSC and is then forwarded to the Facility Safety Office, which maintains all chemical inventories in the MAXCOM program.  Inventories of chemicals on hand are reviewed semi-annually by the RSC.  Since every chemical must be inventoried, maintaining the minimum number of chemicals on hand is advisable.

Authorized Users of radioactive material (RAM) are required to complete semi-annual inventories per the Radiation Safety Officer. Radioactive materials must not be included with the chemical inventory.

# CHEMICAL LABELING (ORIGINAL & SECONDARY)

** YOU HAVE THE RIGHT-TO-KNOW ABOUT ANY HAZARDOUS MATERIAL YOU USE **

Never underestimate the risks involved with chemical work

The Hazard Communication Law requires that all chemicals in the laboratory have a complete label, even those chemicals manufactured before the law went into effect. This labeling requirement applies to all chemicals, in original or secondary/other containers.  A MAXCOM label must be affixed to all secondary containers.  This label includes the chemical’s common name, a National Fire Protection Association safety diamond (as described below), the hazards associated with the chemical, and the personal protective equipment required for safe handling and to eliminate exposure.

3

COR

3

1

Red - FLAMMABLE

Blue – HEALTH

Yellow – REACTIVITY

White – SPECIFIC HAZARDS,

i.e., Corrosive, Oxidizer, etc.

Numeric NFPA Values:

0 – NO HAZARD

1 – CAUTION

2 – WARNING

3 – DANGER

4 – EXTREAMLY DANGEROUS

Employees must inspect chemical labels to determine if all required information is sufficient and legible.  Labels on new/existing chemicals must never be removed or defaced. Illegible or insufficient labeling must be replaced or updated. The labeling law applies to all containers (including waste receptacles) and laboratory doors, i.e. Carcinogens, Biohazardous Material, and Radioactive Materials. Warning labels must also be posted at areas within the lab where special or unusual hazards exist.

Precautionary information may appear on the original chemical label, such as:

Recommended Personal Protective Equipment (PPE).

Proper handling techniques.

Proper storage.

First aid procedures.

Older chemicals may have inadequate labels because they were manufactured prior to this law.  To properly label a chemical, print a label from the MaxCom database.

If the chemical is no longer needed, see HAZARDOUS WASTE & CHEMICAL DISPOSAL. Do not remove or deface labels on chemical containers until completely empty and free of residual chemicals (rinsed with water three times).

LABORATORY ENTRANCES: Chemical Use

The following chemical safety labels are affixed at laboratory entrances:

- Danger: Flammable Gas – When natural gas is used on a regular basis; e.g. Bunsen Burners.

- Formaldehyde in Use – When Formaldehyde and/or a formaldehyde-based chemical is stored or used on a regular basis.  This includes any percentage of formaldehyde (1% to 100% concentration), formalin, formamide, etc.

- Sensitizers in Use – When a chemical causes an allergic reaction in normal tissue after repeated exposure, which is also called “chemical hypersensitivity”.

- National Fire Protection Agency Safety Diamond – When any chemical rated by the National Fire Protection Agency (as noted above) is stored within a laboratory.

SAFETY DATA SHEET (SDS)

The Hazard Communication Law requires that every hazardous chemical have an SDS that identifies vital information.  The SDS is provided by the manufacturer and must be submitted to the RSC with each initial chemical order, which must be approved by the Facility Safety Office. When approved, the SDS will be downloaded into MAXCOM, which is located on the Louis Stokes Cleveland DVAMC Home Page.

ALWAYS READ THE SDS BEFORE USING ANY CHEMICAL FOR THE FIRST TIME.

REVIEW CHEMICAL SAFETY HAZARDS AND PRECAUTIONS OFTEN.

Each SDS contains the following information:

Section I. – GENERAL INFORMATION:  States the identity of the material and the manufacturer.

Section II. – HAZARDOUS INGREDIENTS:  Lists all hazardous chemicals that comprise 1% or greater of the chemical's composition.  (Carcinogens are listed if their concentrations are 0.1% or greater.)

Section III – PHYSICAL AND CHEMICAL CHARACTERISTICS:  Describes appearance, odor, boiling and melting points, specific gravity, etc.

Section IV – PHYSICAL HAZARDS:  Describes fire and explosion hazard data, including toxic gases produced when burning.  This includes:

FLASHPOINT – the lowest temperature at which a flammable liquid will form a vapor that can be ignited and burn.

FLAMMABLE (EXPLOSIVE) LIMITS – These are the lowest and highest levels of flammable vapors that will ignite and burn.

Section V – REACTIVITY DATA:  Describes stability.  If unstable, it will list the conditions to be avoided.  Incompatible chemicals and decomposition products are also listed.

Section VI – HEALTH HAZARD DATA:  Lists information about health consequences, including routes of entry and target organs.

This section also lists symptoms and effects indicative of overexposure.  FIRST-AID recommendations are listed.  Exposure limits are defined as:

OSHA PEL – Permissible Exposure Limit:  The maximum concentration of a chemical to which a worker may be exposed at any given time without known health consequences.

ACGIH TLV – Threshold Limit Value:  The maximum concentration of contaminants to which workers may be exposed for an eight-hour workday without known health consequences.

Section VII – STORAGE, SPILL AND DISPOSAL PROCEDURES:  Lists storage precautions and instructions for proper cleanup and disposal.

Section VIII – PROTECTIVE EQUIPMENT:  Provides the manufacturer's recommendations for respirators, eye protection, gloves, and other personal protective equipment and ventilation.

# HAZARDOUS MATERIAL SPILL PROCEDURE

Medical Research employees are trained to be familiar with the proper procedure to follow in the event of a hazardous material spill, outlined in Medical Center Policy 138-048 SMALL HAZARDOUS MATERIAL SPILL PROCEDURE.  Carpeting/rugs/cloth seating are not permitted in laboratories/clinical areas where chemical or biological materials are handled.  All surfaces must be easy to decontaminate after a hazardous material spill, i.e. linoleum, tiled flooring, etc.  The following list indicates various hazardous materials and the service that should be contacted in the event of a spill or release:

- Mercury:

a. Environmental Management Service (E.M.S.), extension 4270.  Only E.M.S. personnel are service-trained to safely clean a mercury spill; this is performed with a Mercury Vacuum that collects the mercury in a sealed container and is turned over to the Facility Safety Office for hazardous material pick-up.

b. The RSC/CHO, extension 4263, provides a Spill/Release Incident Report form to be filled out by the employee(s) involved, is filed with the RSC/CHO, and submitted to the Facility Safety Office.

- Radioactive Material:

Medical Research employees who cause or are otherwise affected by a radioactive material spill must respond in accordance with Medical Center Policy 000-023, “Radioactive Material Emergencies”.  If you have questions about a spill or require assistance in dealing with a spill, contact the Radiation Safety Officer at extension 3096/5404 or on pager 877-821-0140.  A Radiation Emergency Response guidance sheet is posted in all laboratories that house radioactive material(s).

3.	Hazardous Chemicals:

Medical Center Policy 138-048, “Small Hazardous Material Spill Procedure” outlines emergency and non-emergency spill procedures.

- Emergency Spills:  Non-incidental hazardous chemical spills require an Operations Level response.

  - Evacuate all personnel from the area.

  - Close doors to contain airborne contaminants and prevent entry to the area.   If

possible, fume hoods should be utilized to remove hazardous fumes as quickly as possible.

  - Notify the Local Emergency Response Unit: VA Police Services, extension 2222, and the Facility Safety Office, extension 821-6158.  State the building, room number, the hazardous material, if a fire is involved, and if people are injured. The Emergency Response Unit will contain the hazardous material from a safe distance, keep it from spreading, and prevent exposures.

  - Obtain an SDS sheet. Wait outside the room, out of danger, until help arrives.

- Non-emergency Spills:  Incidental hazardous chemical spills, minor in size, do not require an Operations Level response.

  - Contain the spill by applying the proper absorbent for the hazardous material. A Universal Absorbent is the absorbent to be used with most spills, and is required to be in each laboratory.  Spill Kits are wall-mounted throughout the Research Building.  They are to be used, instead of Universal Absorbents, for the following hazardous spills:  acid, caustic, solvent, and formaldehyde/ formaldehyde solution spills.  Each kit contains neoprene gloves, goggles, plastic bags, twist ties, spatula, and canisters specific to the type of spill. The absorbent used should be applied around the edge of any liquid chemical spill to prevent it from spreading.  The spilled chemical must be completely absorbed.  Both absorbents are inert and will not react with the chemical.  Remember - absorbents will not neutralize the chemical!  Dispose of the absorbed chemical following these steps:

    - Wearing appropriate Personal Protective Equipment, scoop the absorbed chemical into a plastic bag with a spatula.

    - Tie bag with twist tie.

    - Place bag into a box and seal with tape.

    - Label box with name of chemical and the absorbing agent/material used.

    - Safely store box in lab until the next hazardous material pick-up, organized through the Facility Safety Office.

  - Close doors to contain airborne contaminants, and use fume hoods and fans to remove hazardous fumes as quickly as possible. (Fans should blow fumes toward a fume hood for expulsion.)

  - Identify material and use the MaxCom safe use guide.

  - Notify the RSC/CHO.  At that time, the steps taken will be reviewed and a Spill/ Release Incident Report will be submitted to the RSC and the Facility Safety Office.

  - Contact E.M.S. to have the area thoroughly cleaned.

# CHEMICAL STORAGE

Some suggestions for storage of all types of chemicals appear on the following page. Consult the SDS for specific instructions.

- Chemicals must be properly labeled (see Chemical Labeling on pages 7 – 8)

- Chemicals must be stored on lipped shelves or in closed cupboards (below eye-level).

- Check the physical condition of chemicals. Look for a change in color.

- Store chemicals by compatibility, not alphabetically.

- Some compounds, notably trichloroacetic acid, trifluoroacetic acid and acid chlorides slowly attack plastic caps.

- Avoid exposing chemicals to heat or sunlight.

- Store the smallest volume of hazardous chemicals on a countertop.

- Store highly toxic chemicals on low shelves in unbreakable secondary containers.

- Never house chemicals/glassware on the edge of a counter, hood or shelf.

- Quantities of a flammable or corrosive liquid (greater than four liters, but less than ten liters) must be stored in a flammable can.  Quantities greater than ten liters must be stored within a flammable cabinet.

- Keep flammable chemical and acid/base storage cabinet doors closed.

- When cold-storage is required for flammable liquids, an explosion-proof refrigerator is required.

- Flammable Cabinets are inspected annually.  If found to be deteriorating (rust) or the integrity of the cabinet has been compromised, the storage unit must be replaced.

- Chemicals are examined at least annually for replacement, deterioration, and container integrity.

- Chemicals must not be stored on the floor.

- Accept no chemicals with insufficient information on the labels.

- Know the color-codes that some companies use on their labels:

Red					Flammable

##### Blue					Health hazard

White         		Corrosive

###### Orange      		General storage

White Stripe	Separate storage (i.e. Water Reactive, Oxidizer)

Strong acids such as hydrochloric, nitric, sulfuric, or perchloric must NOT be stored with or near strong bases such as sodium hydroxide or potassium hydroxide.

NOTE: Acids and bases must not be stored in close proximity.

- Acids must be stored away from flammable organic chemicals.

- Large quantities of acids must be stored in an acid storage cabinet.

- Bottles of perchloric acid must be stored inside of a glass beaker, in a fume hood.  It must be kept away from easily oxidizable materials such as paper.

- Strong bases must be stored away from acid, formaldehyde, and alcohol.

- Vigorous OXIDIZING AGENTS such as dichromate salts, permanganate salts, molecular iodine, organic peroxides or peroxyacids, perchlorate salts, hydrogen peroxide (in concentrations greater than 3%) must be stored separately from readily oxidizable organic chemicals and materials such as paper.  Concentrated nitric, perchloric and sulfuric acids also are strong oxidizing agents.  Most solid oxidizing agents can be stored with each other.

- FLAMMABLE ORGANIC SOLVENTS (e.g. ethers, alcohols, scintillation cocktail, xylene, pentane, etc.) must be stored in a flammable cabinet.

- Compounds classified as flammable must never be stored in ordinary refrigerators or cold rooms.

- Certain volatile TOXIC ORGANIC COMPOUNDS represent little or no fire hazard also should be stored and used in a fume hood. Some common examples of these compounds are methylene chloride, chloroform, 1,2-dichloroethane, and iodomethane.

# PEROXIDIZING CHEMICALS

Chemicals need to be monitored for disposal prior to expiration date, especially peroxide-forming reagents that may form explosive levels of peroxides with or without concentration.  Peroxide-forming chemicals need to be tested according to the schedule established by the Facility Safety Office.

Whenever you find or suspect that you have found a potentially explosive material:

- DO NOT MOVE OR ATTEMPT TO OPEN THE CONTAINER. If a peroxidized compound forms within a screw-cap bottle, some of the potentially explosive material may rest within the threads inside the cap. Unscrewing the cap may initiate an explosion.

- Post a sign and alert personnel in your area of your discovery.

- Contact the RSC/CHO at extension 4263 or the Facility Safety Office at 821-6159.

- When a material is identified as explosive, the Facility Safety Office will contact the Cleveland Bomb Squad or a hazardous material hauler to arrange for proper handling and disposal.

Additional state and federal requirements come into play when dealing with explosive materials.

# COMPRESSED GAS HANDLING

Compressed gas cylinders have tremendous explosive potential.  Caution must be employed in handling them. Some rules to follow are:

- Strap/chain cylinder onto cylinder cart before transporting.

- Clearly label the contents (e.g. oxygen, nitrogen).

- Store all cylinders in cool, dry, well-ventilated areas.

- Maintain as few cylinders as possible in the laboratory.

- Use a chain or strap, with no slack, mounted 2/3 of the way up the cylinder's height. Secure every cylinder in an upright position.  Each cylinder must be secured individually via a wall-mounted bracket.  Note: Cylinders are not permitted to be mounted to bench tops.

- Use the correct regulator for each gas type.

- Open the main valve slowly with the regulator valve closed.

- Close the regulator and main valves when not in use.

- When a cylinder is empty or not in use, replace the protective cap and mark it "EMPTY."  The empty cylinder must remain secured by a strap or chain until it is removed.

- You must return all cylinders ordered through the VA to the warehouse.  Call CWRU for pickup of cylinders ordered from PraxAir, which charges a monthly rental (demurrage) fee.

- Do not use compressed air to clean work areas.

# HAZARDOUS CHEMICAL HANDLING

General precautions must be followed whenever any chemicals are handled.  Additional precautions must be included when handling hazardous or extremely hazardous chemicals.  Select carcinogens, reproductive toxins, and substances with a high degree of acute toxicity are handled in designated areas.  Additional information can be found in the facility Chemical Hygiene Plan, which is located on the Occupational Health & Safety SharePoint site.

Hazardous chemicals may exert two general effects on the body:

1. ACUTE:  Occurs immediately as a result of a single chemical exposure, e.g., a burn resulting from a strong acid coming in contact with the skin.

2. CHRONIC:  Occurs as a result of repeated chemical exposures over a period of time, e.g., lung disease caused by breathing asbestos over a long period of time.

#### GENERAL PRECAUTIONS:

- Know as much as possible about a chemical before you start to use it.

- Treat chemicals with unknown hazards with caution.

- A mixture of chemicals should be handled using precautions required of its most hazardous component.

- Avoid unnecessary exposure, e.g., do not mouth pipette. Mechanical devices must be used.

- Always wear closed-toe shoes (open-toed shoes and sandals are not permitted).

- Do not smell or taste any chemical.

- Inspect all personal protective equipment before each use.

- Use chemicals in ventilated areas.

- Use the minimum amount of a chemical to accomplish the work successfully.

- Handle equipment and glassware carefully.

- Follow the Research Service Eating Policy.

- Confine long hair and loose clothing.

- Keep the work area clean and uncluttered.  Clean up at the completion of a procedure or at the end of each day.

- Lights should be left on and a sign should be posted on the door of any room with an unattended operation.

- Provide containment of toxic substances in the event of a utility failure.

- Never leave water-utilizing operations running overnight (cooling, deionizing, distilling, etc.).

- Use a hood for procedures that release toxic vapors or generate dust.

- Be alert to unsafe conditions and see that they are corrected when detected.

- Never discharge concentrated acids or bases.

- Never add water to acid . . . add acid slowly to water.

- Maintain a clean laboratory to prevent air-borne contaminants and possible spills. Return unused chemicals to their proper storage areas. Clean equipment and bench-tops frequently; work on disposable laboratory bench paper and change it when soiled.

ALLERGENS AND EMBRYOTOXINS

- Handle allergens and embryotoxins in a fume hood that has a face velocity of 60 – 100 linear feet/minute.

- Use appropriate personal protective equipment to prevent skin contact.

- Review the use of these substances annually or whenever a procedural change is made.

- Store these substances, properly labeled, in a ventilated area in unbreakable secondary containers.

- Notify your supervisor of all incidents of exposure or spills; consult a qualified physician when appropriate (see Medical Consultation).

#### MODERATE, CHRONIC, OR ACUTE TOXICITY CHEMICALS

- Lab coats and gloves must be worn when handling these chemicals. Wash immediately after exposure to these materials.

- Always use a hood or other containment device when performing manipulations that involve or generate aerosols, vapors, or dust.

- Maintain records of the amounts of these materials on hand, amounts used, and the workers involved.

- Always work on absorbent, plastic backed paper or within chemically resistant trays large enough to contain a spill.

- If a major spill occurs, evacuate the area. Ensure that personnel wear appropriate protective apparel during cleanup.

- Thoroughly decontaminate (by chemical conversion) or incinerate contaminated clothing or shoes.

#### HIGH CHRONIC TOXICITY CHEMICALS

- All work with these substances must be conducted in a controlled area.

- A plan for use/disposal of these materials must be prepared/approved by the lab supervisor.

- Decontaminate the controlled area before normal work is resumed there.

- Decontaminate equipment before removing it from the controlled area.

- When leaving the controlled area, remove all PPE and thoroughly wash hands, arms, neck and face.

- If using toxicologically significant quantities of such a substance on a regular basis (e.g. ≥ 3 times a week) consult the personnel health physician concerning regular medical surveillance.

- Records must indicate amount stored, used, the dates of use, and the names of the users.

- Ensure that the controlled area and the laboratory door are conspicuously marked with warning and restricted access signs.  All containers with these substances must be appropriately labeled with identity and warning labels.

- Chemically decontaminate waste whenever possible.  All waste transferred from the controlled area must be contained in secondary, unbreakable containers and must be under the supervision of authorized personnel.

#### CANCER CAUSING AGENTS

Carcinogens, mutagens, and teratogens are collectively referred to as "cancer causing agents".

Every laboratory must have a listing of their known and suspected cancer-causing agents in the laboratory safety notebook.  Increased awareness and extra precautions must be practiced when handling these chemicals.  The defensive action taken must be commensurate with the degree of toxicity and quantity of material to be handled.

- Always wear all recommended PPE, e.g. a fully fastened lab coat, eye protection, gloves, and a face shield or respirator.

- Store all suspected cancer causing agents below eye level in a designated area in the laboratory.

- Perform procedures involving the use of cancer causing agents in a fume hood or other suitable containment device.

- Clearly label a suspected cancer causing agent, and any waste product containing it, "CANCER SUSPECT AGENT."

- Clearly label all storage areas, storage containers and containment devices (i.e. refrigerators, shelves, carboys, hoods, glove boxes) "DANGER - CHEMICAL CARCINOGEN."

- Any waste containing a cancer-causing agent is hazardous and must be disposed of following the ‘Hazardous Chemical Disposal’ and/or ‘Infectious Material Disposal’ procedures.

#### FORMALDEHYDE

OSHA requires training on the proper use of formaldehyde at the initial assignment of duties, when a new formaldehyde procedure is introduced, when a procedure is changed, and annually.  This training is conducted by the RSC/CHO and in the Talent Management System (TMS).  See Medical Research Service Formaldehyde Training Module, Medical Center Policy 138-052, Formaldehyde, and the facility Formaldehyde Chemical Hygiene Plan.  These documents establish policies, procedures, and practices in the safe use of formaldehyde in Medical Research Service and at this medical center.

# SUBCOMMITTEE on RESEARCH SAFETY

The Subcommittee on Research Safety (SRS) reviews protocols involving biohazardous material or class III-A rDNA.  The SRS meets monthly to ensure:

- Semi-annual safety inspections of laboratories are conducted.

- Safety training is provided annually for all laboratory personnel.

- An Occupational Health/Industrial Hygiene program is established.

- Accidents are reported and investigated.

- Safety issues are discussed with technicians and investigators.

The SRS consists of at least five voting members that have been nominated by the SRS and R&D Committees and appointed by the Medical Center Director.  Membership consists of:

Chairperson, SRS

Research Safety Coordinator

Clinical Study Coordinator

Infection Control Nurse, Prevention & Control

Rehabilitation Research and Development Representative

Radiation Safety Officer

Biological Laboratory Technician

Research and Development Coordinator, Ex-officio

Facility Safety Specialist, Ex-officio

Green Environmental Management System (GEMS Coordinator), Ex-officio

AFGE Local #31 Union Designee, Ex-officio

OCCUPATIONAL SAFETY AND HEALTH ADMINISTRATION REGULATIONS

The following is a list of relevant OSHA regulations; all are published in the Code of Federal Regulations 29, chapter 1910 (29 = Labor/1910 = OSHA).  Copies are available from the RSC/CHO:

Subpart I - Personal Protective Equipment:

1910.132 General Requirements

1910.133 Eye and Face Protection

1910.134 Respiratory Protection

Subpart J - General Environmental Controls:

1910.145 Specifications for Accident Prevention Signs and Tags

1910.147 The Control of Hazardous Energy (Lockout-Tag out)

Subpart Z - Toxic and Hazardous Substances:

1910.1000 Air contaminants

1910.1028 Benzene

1910.1045 Acrylonitrile

1910.1048 Formaldehyde

1910.1200 Hazard Communication

1910.1450 Occupational Exposure to Hazardous Chemicals in Laboratories

# CHEMICAL HYGIENE RESPONSIBILITY

Responsibility for Chemical Hygiene rests at all levels, including the:

- Associate Chief of Staff/Research.  This individual has the ultimate responsibility for chemical hygiene within Medical Research Service. ACOS/Research must provide continuing support for chemical hygiene with the assistance of other administrative officials.

- Administrative Officer.  This individual is responsible for chemical hygiene in Medical Research Service.

- RSC/CHO.  This individual must:

- Work with administrators and others to develop and implement appropriate chemical hygiene policies and practices.

- Monitor procurement, use and disposal of chemicals used in laboratories.

- See that appropriate audits are conducted.

- Help investigators/lab directors develop precautions and provide adequate facilities.

- Be familiar with current relevant regulations.

- Strive to improve the Chemical Hygiene Program.

- Laboratory Director/Investigator.  This individual must:

- Ensure that workers are trained to know and follow chemical hygiene rules.

- Provide and document formal chemical hygiene and housekeeping inspections.

- Be familiar with current relevant regulations.

- Determine the required levels of personal protective apparel and equipment.

- Ensure that procedures, equipment, and facilities are adequate for the materials being used.

- Laboratory Worker.  Each laboratory worker must:

- Plan and conduct their work in accordance with the Chemical Hygiene Plan.

- Develop good personal chemical hygiene habits

# HAZARDOUS WASTE & CHEMICAL DISPOSAL

Hazardous chemicals must not be released into the environment.  All chemical waste must be collected, stored in compatible containers, and remain in the laboratory until removed by the RSC/CHO.  The Medical Center hires a Resource and Conservation and Recovery Act (R.C.R.A.) approved outside waste facility to dispose/destroy unwanted, non-infectious, hazardous chemicals.  This includes exempt quantities of toxins that are not currently in use and for which there are no plans of immediate use.

The R.C.R.A. hazardous waste program regulates federal, state, and local government facilities that generate, transport, treat, store, or dispose of hazardous waste. This ensures proper management of hazardous waste from the moment it is generated until its ultimate disposal or destruction.

Removal of hazardous waste is expensive; chemicals should be recycled and/or volumes minimized whenever possible.  The Facility Safety Office coordinates quarterly hazardous waste pick-ups.  For each chemical to be disposed of, the container must have a HAZARDOUS WASTE label.

HAZARDOUS WASTE labels are located throughout the research corridors near green wall-mounted spill kits.  Waste bottles must have this label affixed to it and clearly note the contents.   Note:  Do not fill in the date on this label; the Facility Safety Office fills in the date when it is picked-up for disposal.

PERSONAL PROTECTIVE EQUIPMENT (PPE)

Personal Protective Equipment (PPE) provides a barrier to prevent contact with hazardous agents.  PPE includes protective clothing, respiration protection, eye protection, and shields.  PPE should be changed or cleaned regularly.  Disposable equipment must not be reused.  Remove any contaminated PPE immediately and decontaminate it or dispose of it as infectious material (see Infectious Material Disposal).

Restrict PPE use to contaminated areas to prevent contamination in unrestricted areas.  DO NOT wear PPE outside of the laboratory.   Before using any chemical, consult the SDS and review your Hazard Assessment Statement (located in the red labeled SAFETY notebook) to identify the correct PPE to use.

#### PROTECTIVE CLOTHING

Coveralls, aprons, lab coats, gloves, and boots help reduce skin contact with chemicals.  These items must be changed immediately if they become contaminated with a hazardous chemical.  Used lab coats and aprons should be washed at least weekly.  All personnel must wear a lab coat when working with chemicals.

#### GLOVES

Hands and forearms are most likely to come in contact with hazardous chemicals.  Gloves and lab coats provide the best protection against skin exposure.  When transporting materials outside of the lab, wear clean gloves, use a cart or bottle carrier, and carry an extra pair of clean gloves in the event the first pair becomes contaminated.  When in doubt (regarding the proper gloves to wear) review section 8 (personal protective equipment) in the SDS.

- Disposable (single-use only) examination gloves provide protection against biological fluids and minimally hazardous chemicals. Non-latex disposable gloves are available for personnel with latex allergies and sensitivities.  Disposable examination gloves do not provide adequate protection against corrosive materials or halogenated hydrocarbon solvents.

- NEOPRENE or NITRILE rubber gloves are necessary when working with halogenated solvents, corrosives (such as strong acids and bases) or solutions of oxidizing agents. After each use, rubber gloves must be washed with soap/water and examined for pinholes, tears or cracks.

- Re-usable gloves (neoprene/nitrile, utility, autoclave, cryogenic, etc.) must be kept in an uncompromised (no holes, cuts, etc.), clean, and sanitary condition.

** WASH HANDS AFTER USING ANY CHEMICAL IN THE LABORATORY

(REGARDLESS OF WHICH GLOVES ARE USED) **

All laboratories (where chemicals, biological agents, etc. are handled) must have working sinks for immediate hand washing.

#### EYE PROTECTION

Eye protection is provided and used for work that may involve splashes of hazardous materials.  Utilize the following types of eye protection as appropriate to your work:

- Anti-UV Glasses/Face Shields are designed to block ultraviolet rays.  Wear them whenever using UV light.  Most ordinary eyeglasses do not block UV rays.

- Side Shielded Safety Glasses primarily offer protection from potential splashes.

- Face Shields protect eyes and face from direct contact with chemicals.

- Goggles, along with a face shield, offer the best eye protection from chemical contact.

#### HEARING (NOISE) PROTECTION

Medical Center Policy 138-031, Hearing Conservation Program, is designed to protect those employees at risk from hazardous noise.   If there is a concern about hazardous noise levels, the Facility Safety Office should be contacted for monitoring.

  - Safety “earmuffs” seal around the ears to block harmful noise (compliant with ANSI* S3.19-1974), which

are available upon request from the RSC.  Note: “Earmuffs” are re-usable and must be cleaned with an alcohol wipe between uses.

  - Earplugs, made of thermal-reactive foam, conforms to the ear canal to provide a low-pressure seal for

hearing protection (compliant with ANSI S3.19-1974).  These are single-use earplugs and are available upon request from the RSC.

*American National Standards Institute (ANSI).

#### RESPIRATORY PROTECTION

Before using any respiratory protective equipment, MCP 138-033 must be followed.  Contact OH&S for questions regarding respiratory protection.

*Personnel who are permitted to voluntarily use respirators are provided a copy of CFR 1910.134, Appendix D.  A signed copy of this should be maintained by the RSO/CHO and OH&S.

# MONITORING VAPOR-FORMING CHEMICALS

Laboratory personnel that may be at risk of exposure to air contaminants must be monitored.  A monitoring device (dosimeter) is provided by the Facility Safety Office and is worn for an entire 8-hour workday.  Monitoring should be conducted when working with/near hazardous vapor forming chemicals (as defined by OSHA) in large quantities or when the same chemical is used greater than or equal to three times a week.

Concerns about air quality/safety must be directed to the RSC/CHO.   NOTE:  Any vapor-forming chemical can be monitored.

# CONTRACTORS

Contractors performing work in laboratories must be notified of all hazards they may come in contact with or direct hazards they may be exposed to when servicing a piece of equipment.  This policy applies to anyone entering the laboratory, including painters, engineers, environmental management personnel, and visitors.  Personal protective equipment (PPE) should be supplied when necessary.

Before sending a piece of equipment out of the facility to be serviced, every attempt must be made by laboratory personnel to decontaminate it.  The contractor must be notified of the hazardous material used with the equipment and the decontamination process used before shipping. Also, inform on-site repair technicians that a piece of equipment may be contaminated before necessary repairs are made.

A contractor working with hazardous chemicals in your laboratory must inform you of the hazards you may come in contact with.  Also, you must be informed of the proper PPE for these hazards.

# EMERGENCY PROCEDURES

#### DISASTER & DISASTER DRILL PROCEDURES

"The Disaster Plan and Reference Guide", available from the Facility Safety Office, defines a disaster as "a sudden unplanned event that taxes a health care facility's ability to deliver necessary services."  Disasters are announced over the Public Address (PA) system, which states "The disaster plan is in effect."

Medical Research Service employees have no alternate duties during a disaster.  They must remain at their duty stations and continue working unless directed to evacuate or lend assistance. In the event that Research employees are asked to evacuate they should report to the grassy area in front of the hospital (East Boulevard) so they may be accounted for. No one should leave the premises without being accounted for.

During a disaster/disaster drill, do not use the phone.  Those in position to respond to a disaster/disaster drill require access to the phone lines. The end of a disaster drill will be signaled by the PA announcement, "stand-down."

#### FIRE & FIRE DRILL PROCEDURES

The Fire Alarm System involves the following:

- A Fire Alarm Siren.

- An audio indicator identifies the following areas in Medical Research Service:

a.	“Second Floor Research”		Rooms K-201 – K-220

b.	“First Floor Research”		Rooms K-101 – K-122

c. “Basement Research”			Room B-F311 – B-F466

d.	“Basement West”			F.E.S. Center and Basement Laboratories

e.	“Basement Rehab. Medicine”	Room B-B322 (Motion Studies Lab).

- A strobe light at each alarm station.

The above alarm system will continue to sound in the affected area of the hospital until the situation has been resolved.  Unaffected areas of the hospital will receive four rounds of the alarm system; strobe lights remain flashing throughout the hospital until the situation has been cleared. If the alarm indicates another zone, check local fire doors to be certain they have closed.

ACTIVATION of the FIRE ALARM SYSTEM:

Always call extension 2222 to confirm incident whether alarm system is active/inactive.

Call FIRE/EMERGENCY, extension 2222 (after removing yourself/others from lab/office). Tell the operator:

1.  The type of emergency.

2.  Room number.

3.  Service.

4.  Your name and extension.

If the Fire Alarm System is down, the operator will initiate the internal alert system. "Mr. RED”, followed by the room number, will be announced via the Public Address (PA) System every two minutes until the fire has been contained.

- Fire Alarm Pull Boxes are located near each stairway, exits from the building, and the Research elevator.

Sprinkler Devices and located throughout Medical Research Service to provide immediate attention when smoke and or a fire is detected.  There must be a minimum of 18 inches of vertical clearance from the sprinkler heads, heating pipes, and lighting fixtures in order to provide a full and effective spray.

- After four cycles, the fire alarm siren and audio location identification will be limited to the floor of origination.  The strobe lights will remain activated throughout the entire medical center until the Cleveland Fire Department renders the situation “clear”.

When a fire cannot be contained, the R.A.C.E. Procedure must be implemented:

(R)emove yourself and others from danger.

(A)ctivate an Alarm Pull Box or call extension 2222.

(C)onfine the fire by closing doors.

(E)vacuate personnel from the building.

When a fire can be contained (i.e. within a paper basket) laboratory personnel are responsible for knowing the location and proper operation (P.A.S.S.) of a fire extinguisher.

(P)ull the pin.

(A)im at the base of the fire.

(S)queeze the trigger.

(S)weep back and forth until the fire is out.

Dry Chemical Fire Extinguishers: Every laboratory in Medical Research Service has an ABC type fire extinguisher mounted in an easily accessible place in the room.  Do not block sight of or access to the extinguisher.  Fire extinguishers must be accessible within 75 feet of your workspace (fire closets cover rooms without an extinguisher).

Class ABC extinguishers extinguish three basic types of fires:

(1)	Type A: 	Fires that consist of ordinary combustible materials (paper, wood, cloth, etc.)

(2)	Type B:	Fires that consist of flammable liquids, oil grease, and flammable gases.

(3)	Type C:	Fires that consist of energized Class A or Class B materials involving electrical equipment.

After the fire has been extinguished, the employee must call the VA Police and Security Office at extension 4207. The site of the fire will be inspected by the VA Fire Marshall to ensure that the fire has been completely extinguished.  Also, the employee and RSC/CHO must complete a Fire Incident Report.

NOTE: Care must be used in operating this extinguisher because the horn becomes extremely cold and can freeze flesh upon contact.

EVACUATION:

Employees must leave the building using the closest available exit or move to another zone within the hospital.

Employees will not be permitted to return to their work area until VA Police and Security issue further instructions.

Elevators are non-operational in the event of a fire.

#### NOTE: To smother flames on your clothing:  STOP (do not run), DROP (to the floor), and ROLL (until flames have been smothered).

#### EMERGENCY OVERHEAD PAGING CODES

The following is a list of Emergency Overhead Paging Codes to be used when emergency assistance is needed.

Dial extension 2222 for:

Dr. Heart -	Medical help is needed.

Dr. Decon -	When an employee knows/suspects a biological or chemical terrorism incident (LSCVAMC Biological and Chemical Terrorism Response).

Mr. Strong -	An employee/patient is exhibiting violent behavior.

Mr. Hyde -	It is suspected/known that someone is concealing a weapon.

Mr. Roamer - A lost/confused patient roaming the hallways.

Mr. Red -	Fire.

# ENGINEERING CONTROLS

The following safety devices are available to make the working environment safe for Medical Research employees:

# EMERGENCY EYEWASH/SHOWERS STATIONS

Emergency eyewash/shower stations are located throughout Medical Research Service where hazardous agents are used. In the event of a hazardous material slash/spill, each employee must know the location of the nearest emergency eyewash/shower station (vision is often compromised at the time of injury).

Spot sprayers, located to the right of the eyewash station bowl, are located outside rooms A-50, A-49, and A-16 (all on the basement level/research).  All eyewashes and showers must have an inspection tag that indicates inspections are performed on a weekly basis.  Eyewashes/showers must be run weekly to prevent contaminant build up.

#### BOTTLE CARRIERS

Bottle carriers are heavy, break-resistant, plastic containers that prevent breakage.  They are available from the RSC.  Glass bottles must be placed in them every time they are transported outside of the laboratory.  They are available in 4-liter sizes.  If many glass bottles are being transported together, a cart should be used and the bottles contained.

#### COLD ROOMS

Cold rooms are constant 4°C walk-in units located in Medical Research Service.  The air in a cold room is re-circulated; flammable or hazardous chemicals must not be stored in these rooms (dry ice and liquid nitrogen are forbidden).  When such fumes are concentrated, they pose explosion and health hazards.  Due to the storage of equipment and hazardous materials, cold rooms must be locked when not in use. Cold rooms may be used for storage as long as every item:

1.  Is non-flammable.

2.  Requires refrigeration to maintain usefulness.

3.  Is off the floor.

4.  Is properly labeled with chemical name, hazard information, investigator's name, date opened, and                    target-organs (when appropriate).

Note: Cold Rooms are never used to store food, beverages, or medications intended for human consumption or use.

Cold rooms are inspected semi-annually.

#### EMERGENCY POWER

Emergency power is available in Medical Research Service.  In the event of a power failure, the emergency generator will begin to supply power to the hospital.  To reduce the demand on the generator, power is only supplied to the red outlets.  The hospital has many life supporting machines connected to this power source, so it is important that the red outlets be used only for devices requiring uninterrupted power.  Examples of such devices are computers, -80 Celsius freezers, etc.  Please be considerate in your use of these outlets.

#### FUME HOODS

Fume hoods are available in most laboratories.  They should be employed often because they are an easy way to avoid hazardous dusts and fumes. Labels mark the upper and lower boundaries for proper sash placement.  Keeping the bottom edge of the sash at or between these labels will provide the maximum airflow rate into the hood without back draft.  Fume hood sashes also provide a physical barrier from hazards, i.e. corrosives and dust-creating manipulations.

The RSC/CHO, under the direction of the OH&S, annually measures the face velocity for each hood in Medical Research Service and performs a “visual” inspection quarterly to ensure each hood has pull (as indicated by a long narrow piece of Kim Wipe® being drawn-into the fume hood).  For work with chemicals of Moderate Chronic or High Acute Toxicity, always use a hood with a face velocity of at least 60 linear feet per minute (Code of Federal Regulations, Occupational Safety and Health Administration, Labor, 1910.1450, E, 3, c).  The sash of a fume hood is best kept at a mid-range between 60 and 100 linear feet per minute.  This will allow maximum protection from vapor forming chemicals.

The configuration and number of items within a hood must remain constant.  If you believe that the air patterns have changed due to materials being added/removed from the hood, please contact the RSC/CHO to have the airflow monitored.

A long narrow piece of Kim Wipe® must be taped to the bottom edge of the sash for day-to-day monitoring.  This indicator will be drawn inside the hood when the hood is functioning properly. If a fume hood malfunctions, contact the RSC/CHO to submit a work order.  Do not use it until the problem has been corrected.

Vents and ductwork must not be obstructed.  Do not use a hood for storage. Items within the hood may interfere with airflow.  All materials used in the hood must be placed at least six inches back from the edge to prevent spillage and to maximize airflow.  To minimize exposure risk, and avoid inhaling vapors, open all containers inside the hood. Also, ensure that all chemical containers are closed tightly when finished with a procedure.  Note:  Never use a fume hood for the evaporation of a chemical.

#### HOUSEKEEPING

Environmental Management Service (EMS) personnel are responsible for housekeeping duties (trash pick-up, mopping floors, providing hand soap and paper towels, etc).  In addition, they dispose of rinsed-clean chemical bottles, boxes, and properly packaged sharps and infectious waste.  *See page 25 for Biological Waste Disposal.

#### Sharp Material Disposal/Storage

All sharp materials must be disposed of with extra care. These materials must be separated into infectious and non-infectious categories:

1.	Non-Infectious Sharp Material Disposal:  Non-infectious sharps (broken glass, pipettes, and other rigid plastic materials) must be disposed of in a hard-sided sharps box or any heavy cardboard box.  If using a heavy cardboard box, it must be well marked "DANGER - SHARP MATERIALS".  Sharps boxes must be stored in low-traffic areas to prevent spillage.

NOTE:  Sharps Boxes may be filled only 75% full.  Never transfer the contents/reach into a Sharps Box!

2.	Infectious Sharp Material Disposal:  Needles, blades, pipettes, glass, etc. that comes into contact with infectious material (blood, media, etc) must be placed in a hard-sided, covered sharps box.  An outside contractor (managed by EMS) supplies sharps boxes and replaces them on a weekly basis.   When not in use, Sharps Boxes must be closed.

3.  Storage of Sharp Materials:  Sharp materials must be stored in boxes or trays to limit possible injury. Needles are never re-capped and must be disposed of after use.  Razor/scalpel blades used for cutting filters, nylon membranes, etc that are to be re-used must also be stored in boxes or trays.

Sharp material must be secured during transport, i.e. lab-to-lab / floor-to-floor, to prevent accidental loss of needles, etc. while on route.

#### LAUNDRY SERVICE

The LSCDVAMC provides laundry service for protective clothing (lab coats, uniforms, scrubs, etc) worn while performing work duties.  A laundry identification number will be assigned at the Uniform Exchange Room for VA-owned and personally-owned uniforms/lab coats, which is located on the first floor, room E-105.  Use permanent ink to print this number inside the collar of the uniform/lab coat.  To receive a uniform/lab coat, obtain an authorization form (VA Form 10-1148, available in K-117) signed by the ACOS/Research or your supervisor and take it to the Uniform Exchange Room.  All uniforms/lab coats must have known hazardous contaminants removed before they are submitted for laundering.  Do not wash them at home.

#### LIPPED SHELVES

To prevent breakage, chemicals and glassware must be stored on lipped shelves or in cabinets with closed doors below eye level.  Engineering Service will install lips on shelves when a work order is submitted.

#### WORK ORDERS

Electronic work orders, for physical plant maintenance or installation of equipment, are submitted to Engineering Service for review and action.  Safety related work orders are a priority and must be completed within 30 days.  Work orders should be submitted to the RSC/CHO.  A work order must give the name and phone extension of a contact person, the room number where the work is to be done, and description of work.

# BIOLOGICAL WASTE DISPOSAL

All non-sharps (gloves, paper towels, plastic-ware, etc.) contaminated with an infectious agent must be placed in an autoclavable biohazard bag; this is supplied by Environmental Management Service (EMS), extension 4270.

Biological laboratory waste, i.e. bodily fluids, cells, etc., must be collected into compatible containers (capped/secured centrifuge tubes, etc.) and also be disposed into red or orange labeled biohazard bags.  This will help to prevent any unnecessary leakage within the biohazard bags.

When a biohazard bag is 75% full:

- Dispose into a red labeled biohazard barrel in Cold Room K-103, K-204, or B-D317.  EMS removes, autoclaves, and disposes of waste as needed.

# LOCK-OUT/TAG-OUT

Lock-out/Tag-out is a method employed to prevent injury when a piece of equipment is damaged or when routine maintenance/repair is necessary.  If Lockout/Tagout is necessary, please contact Engineering Service.

#### PERSONNEL ACCIDENT PROCEDURE

Anyone who has had an accident, been injured (on medical center grounds), or has a work-related illness must report to Personnel Health Services for treatment.

Accidents that occur while an employee is in official travel status also must be reported.  The employee's immediate supervisor, or the supervisor of the area where the accident occurred, must be informed as soon as possible.

For accidental hazardous material contact, immediately follow first aid procedures listed on the SDS for the chemical.  In general, for skin and eye contact, flush the affected parts with water at an emergency eyewash station/emergency shower for 15 minutes.  Refer to the SDS if the chemical has been ingested.  As soon as possible, report to Personnel Health Services and provide an SDS for the chemical involved.

The supervisor is responsible for:

- Recommending medical treatment for the injured employee.  Personnel Health Services is located on the basement-level of the Medical Center, room B-AC250 (x3557) past the Out-patient Pharmacy.  After the regular work hour shift (8:00am to 4:30 pm, Monday through Friday) employees need to report to the Emergency Department.

- Investigating the accident to determine its cause and to determine a corrective action, this will prevent the accident from reoccurring.

- Initiating the corrective action within ten working days of the accident.

- Completing the supervisor’s report in the ASISTS accident reporting computer system.

The employee must:

- Complete the employee report in the ASISTS accident reporting computer system.

- Cooperate fully with the supervisor's investigation of the incident.

Case Western Reserve University (CWRU) employees should report any accident to their supervisor and obtain non-emergency medical attention from the CWRU Health Services Center on Adelbert Road.  Emergency medical care will be provided through Personnel Health Services: Basement-level of the Medical Center, room B-AC250 (x3557) past the Out-patient Pharmacy.  After office hours, emergency medical attention can be obtained from the Emergency Department. An ASISTS accident report must be filed with the VA.

# MEDICAL REQUESTS

The VA Medical Center will provide all employees who work with hazardous substances an opportunity to receive medical attention, including any follow up examinations deemed necessary by the examining physician, free of charge, in any of the following cases:

- When symptoms of overexposure are noted.

- When exposure monitoring reveals that exposure routinely exceeds the action level (or PEL) for an OSHA regulated substance.

- When there is a spill, leak, or other event resulting in the likelihood of a hazardous exposure.

Only necessary information will be supplied to the physician so that appropriate tests and accurate recommendations can be made.  The supervisor will obtain a written opinion from the doctor including:

- Results of the examination and any test results.

- Identification of any medical condition, revealed during the examination, which increases the employee's risk when exposed to hazardous chemicals.

- Recommendations for follow-up.

- A statement indicating that the physician has notified the employee of the results.

Findings unrelated to occupational exposure will not be revealed.  For a more detailed description of the employee's rights, see 29 CFR 1910.1450 (g) available from the RSC/CHO in K-117.

# IMMUNIZATIONS

Free immunizations are given to all VA and non-VA employees at the medical center.  These immunizations include Hepatitis B, Measles, Mumps, Rubella, Influenza, and Tetanus/Pertussis.  The rabies vaccine can also be made available.  An annual PPD (tuberculosis skin test) is required for all VA employees except those that are known to test positive.  Vaccines and the PPD are administered in Personnel Health Services, basement-level of the Medical Center, room B-AC250 (x3557) past the Out-patient Pharmacy.  Call in advance for an appointment.

NOTE:  Read all informational literature/treks prior to receiving any vaccination.

# SMOKING POLICY

The LSCDVAMC has a smoking policy (Medical Center Policy 00-5) that prohibits smoking inside the hospital.  Smoking is permitted only in designated areas outside the facility.

# ELECTRICAL SAFETY

Personal electrical equipment (answering machines, coffee pots, microwaves, radios, refrigerators, etc.) must be inspected by the RSC/CHO who documents the inspection with a green safety sticker.

Electrical cords must:

- Be in good condition; no frays or cuts in the protective wrapping.

- Be bundled and secured to prevent clutter.

- Be kept away from water sources and never be wrapped around metal fixtures.

Only Engineering Service-approved extension cords shall be used, but not as permanent wiring. Three prong to two prong adapters are not allowed.

Ground Fault Interrupter (GFI) electrical outlets must be used in wet/high risk areas.

Red outlet boxes are emergency outlets that continue to receive emergency power in the event of a power outage.  Life support systems place such a large demand on emergency power that only those items that absolutely require continuous power to maintain usefulness (freezers, computers) may be plugged into these outlets.

# PHYSICAL HAZARDS

Physical hazards include the following:

(1) Ionizing and non-ionizing radiation,

(2) Noise,

(3) Vibration,

(4) Extremes of temperature and pressure,

(5) Explosive hazards,

(6) Electrical hazards, and

(7) Mechanical hazards.

The above-noted Physical Hazards must be addressed to minimize personnel risk and ensure regulatory compliance. Routine laboratory inspections by facility safety personnel and research personnel must include a review of all potential physical hazards. The Research Safety Coordinator schedules inspections with program managers, service technicians, individuals with technical expertise, and receives inspection results from various services throughout the facility, e.g. Radiation Safety, Engineering, etc.